Corrections to the Cost Estimates for the TCB Central Sewer

Prepared for Blacksburg Town Council Meeting June 10, 2003

We have spent several days analyzing the detailed engineering plans for Phase I and the cost itemization for Phases I and II from which Adele calculated projected costs for the proposed TCB Sewer Line.  We also studied in detail the Preliminary Engineering Report prepared by Anderson & Associates in August 1998.  The cost itemization which Adele used also originated with Anderson & Associates and it was prepared October 10, 2000, after the detailed engineering plans were completed for Phase I.

As a result of the survey and preparation of detailed engineering plans for Phase I, the total length of required piping was reduced by about 500 line feet, or 2% of total footage, and some piping size was reduced, especially for the 11,000 feet of Toms Creek Connector which was changed from 36" to 30" piping.  There were other cost adjustments as well.

But, what became apparent when I placed the 1998 and 2000 estimates on a spreadsheet is that some significant costs were omitted.

Costs Omitted in 2000 which should have been there

a)	No money for Pump Stations Removal, Phase I, 4 @ $25,000 =	$100,000

b)	No 10% contingency costs for Phase I were included except for the cost estimates for Force Main & Pump Station.

c)	No “related” costs were included.    The exclusion of these “related” costs is noted in script on the top of the October 10, 2000, cost estimates.  It reads, “Does not include inspection, easements, engineering.” [I’ve copied that sheet so that you can see the notation on top.] The estimate for just those three items in 1998 was 22% of total costs.  The Anderson & Associates Preliminary Engineering Report details “Related Costs” on p. 28, and estimates them at 30%.  In addition to engineering, inspection and easements, it lists surveying, legal, and administration plus interest during construction for the other 8%.  Since these other costs also were not itemized in 2000, I have added the full 30%.

Let’s calculate those costs again.

Phase I

Adele’s Estimates

from 10/10/2000 A&A						Cost revision

Pump Station

and Force Main:	$2,462,000	These costs include a 10% contingency

allowance, but do not include 30% for

“Related” costs.

$2,462,000 times 1.3 =			$3,200,600

All other Phase I

costs:		$5,402,423	These costs include neither a 10%

Contingency nor 30% for “Related

Costs”.  10% + 30% = 40%

$5,402,423 times 1.4 = 			$7,563,392

Adele’s Estimates					       Cost Revision

From 10/10/2000 A&A

Pump Station Removal		The 10/10/2000 costs did not include

the costs for removal of 4 pump

stations @ $25,000/pump station or

$100,000 and these costs also must

have 10% + 30% added to them

$100,000 times 1.4 = 			$ 140,000

Phase I Total Costs:	$7,864,423							$10,903,992

Phase II costs:	$3,304,802	These costs include the 10% contingency

but not the 30% for “Related Costs”

$3,304,802 times 1.3 = 			$ 4,296,243

Total Cost proposed					Revised Total Costs

TCB Central Sewer	$11,169,225			Proposed TCB Sewer	$15,200,234

There is just one problem with my revised Total Costs, they still do not include cost increases which have occurred since 2000.  Conservatively then, you can expect the Total Costs of the proposed TCB central sewer to be between $16,000,000 (a 5% cost increase) and $17,000,000 (a 12% cost increase).

Mary Houska

2301 Spring Hollow Lane NW

540-552-2717

Mfdh@aol.com

Analysis of Cost Differences Between 1998 A & A Estimates & Adele’s 2000 A & A Est.

Force Main

1998 total $568,926 (includes 10% for contingencies & 30% for “related” costs)

2000 total $636,000 (without 10% for contingencies or 30% “related” which would increase the cost $890,400.)

Difference without adjusting for 10% & 30%: +$67,074

Pump Station

1998 total $2,283,710 (includes 10% for contingencies & 30% for “related” costs)

2000 total $1,826,000 ( includes 10% but not 30% “related” expenses which would increase the cost to $2,373,800)

Difference without adjusting for 30%: -$457,710

Rest of Phase I

1998 total $7,987,634 (includes 10% for contingencies & 30% for “related” costs)

2000 total $5,402,423 (without either 10% for contingencies or 30% for “related” costs which would increase the cost to $7,563,392)

Difference without adjusting for 10% and 30%: - $2,585,211

Net Total (no adjustments): Total costs down $2,975,847

Details of Rest of Phase I  Differences

Piping Length and Cost

1998	44,053 line feet	$4,093,385	Note both pipe length & size reduced in 2000 est.

2000	43,185 line feet	$3,539,140	Difference -$554,245

Manholes                                                             	Road Crossings

1998	$515,000	Costs + $148,825	1998	$720,000	Costs + $23,000

2000	$663,825					2000	$743,000

Creek Crossings                                                   	Mobilization Costs

1998	40 for $200,000	Number of crossings	1998	$245,600	Costs +$11,658

2000	30 for $186,000	reduced but cost rose	2000	$257,258

Cost - $14,000

Pump Station Removal      		Net Cost Change of Itemized Costs

1998	$100,000	$100,000 reduction ????	-$484,762, mostly piping

2000		0